MESA extracted DNA at Advanced Research and Diagnostic Laboratory, University of Minnesota using a modified salt precipitation method at Exam 1.  This DNA has been successfully used for telemere length and large scale genotyping.

The DNA extraction method we use is as follows:

DNA is isolated from whole blood or packed cells that are frozen at –70oC.  The DNA extraction and purification method uses sodium dodecylsulfate cell lysis followed by a salt precipitation method for protein removal using commercial Puregene® reagents (formerly Gentra Systems, Inc., Minneapolis, MN 55447; currently Qiagen Instrument Service, Germantown, MD 20874).  DNA is quantitated using the NanoDrop Spectrophotometer (NanoDrop Technologies, Wilmington, DE).  Quantitation by Picogreen analysis (Molecular Probes, Eugene, OR) is also available.  A mean yield of 200 µg or 40 µg DNA/mL packed cell is obtained, and DNA is of high quality (mean purity A260/280=1.77) and high molecular weight as determined by gel electrophoresis.

Sample type: Whole blood collected in ACD, EDTA or heparin tubes; frozen packed cells from EDTA or Na citrate tubes; buffy coats and saliva or other body fluids are also acceptable but may give lower yields

Minimum volume needed: 3-10 mL whole blood; 2-5 mL packed cells

Packed cells from Exam 5 have also been saved for future DNA extraction.