MESA Ancillary Study A84 Data Set Variable Guide

Renal Function Exam 2 and 3

| Data Set name : | MESAa084e23_RenalFunc_20150519 |
| --- | --- |
| Principal Investigator : | Matt Allison |
| Contact Information : | mallison@ucsd.edu |

| Variable | Variable Description | Value Labels | Comments |
| --- | --- | --- | --- |
| idno | MESA Participant ID Number |  |  |
| cysvtid2 | Cystatin-C VT ID |  |  |
| cystatc2 | Cystatin-C (mg/L) at Exam 2 |  | SIEMENS CAT# OQNM13 LOT# 167846 STD LOT# 049851 STD RANGE: 0.0024-0.0755 mg/L SAMPLE DIL: 1:100 VOLUME USED: 40ul RUN BY ALP ON Serum ACCEPTABLE RANGE: 0.24-7.55mg/L |
| cystatc2m | Cystatin-C Missing Value Code | -888: Insufficient Volume -999: No Sample |  |
| cysc2cmm | Cystatin-C Comments |  |  |
| crevtid2 | Creatinine VT ID |  |  |
| creat2 | Creatinine (mg/dL) at Exam 2 |  | Roche Integra Catalog# 03263991990 Lot 63741901 Run by AMP on serum (2 to 5 uLs) Detectable Range ~ 0.06 to 30.5 mg/dL |
| creat2m | Creatinine Missing Value Code | -888: Insufficient Volume -999: No Sample |  |
| crea2cmm | Creatinine Comments |  |  |
| aldexam | Exam of Aldosterone Measurement | 2: Exam 2 3: Exam 3 |  |
| aldvtid23 | Aldosterone VT ID |  |  |
| aldo23 | Aldosterone (pg/ml) |  | DiaSorin CAT# P2714 LOT# 126362 exp 6/18/11 STD LOT# 050510 through 050515 STD RANGE: 50-1000 pg/ml SAMPLE DIL: neat VOLUME USED: 200 ul RUN BY MEW ON EDTA ACCEPTABLE RANGE: 50-1000pg/ml Inter assay CVs: 6.30%, 8,87%, 6.50% The software program used to calculate results based on a curve fit at times will calculate values within ~50% above or below the curve cutpoints. This data can be used in analysis but we do identify it as extrapolated in case you want to consider running the analysis without those values. For Aldosterone, the extrapolated values are at the low-end of the curve. We set the valid extrapolated value at 15 pg/mL. |
| aldo23m | Aldosterone Missing Value Code | -333: Value below lowest detectable limit -444: Invalid result -555: Value above highest detectable limit -888: Insufficient volume -999: No sample | For categorical analyses, the values coded as undetectable low (-333) or undetectable high (-555) can be included in analysis using the cut point value indicated in the comment column. For example, an aldosterone value of -333 could be recoded to 10 pg/mL for inclusion in this analysis. Other data codes such as -999, -888, -444, should be set to missing and not included in analysis. Zero is not a valid result for any of these analytes. |
| ald23cmm | Aldosterone Comments |  |  |
| praexam | Exam of PRA Measurement | 2: Exam 2 3: Exam 3 |  |
| pravtid23 | Panel Reactive Antibodies (PRA) VT ID |  |  |
| pra23 | Plasma Renin Activity (PRA) (ng/mL) |  | Diasorin RIA Catalog# CA1553 EDTA Detectable Range ~ .008 to 50 ng/mL Inter assay CVs: 18.07% 21.19% and 18.22% The software program used to calculate results based on a curve fit at times will calculate values within ~50% above or below the curve cutpoints. This data can be used in analysis but we do identify it as extrapolated in case you want to consider running the analysis without those values. For PRA, the extrapolated values are at the low-end of the curve below 0.008 ng/mL. |
| pra23m | Plasma Renin Activity (PRA) Missing Value Code | -333: Value below lowest detectable limit -444: Invalid result -555: Value above highest detectable limit -888: Insufficient volume -999: No sample | For categorical analyses, the values coded as undetectable low (-333) or undetectable high (-555) can be included in analysis using the cut point value indicated in the comment column. For example, a PRA value of -333 could be recoded to .002 for inclusion in this analysis. Other data codes such as -999, -888, -444, should be set to missing and not included in analysis. Zero is not a valid result for any of these analytes. |
| pra23cmm | Plasma Renin Activity Comments |  |  |