MESA Ancillary Study 81 Data Set Variable Guide

Apolipoprotein-B Dataset

| Data Set name : | MESAe1a081_ApoB_20200221 |
| --- | --- |
| AS081 Principal Investigator : | Michael Tsai |
| AS081 Contact Information : | tsaix001@tc.umn.edu |

| Variable | Variable Description | Value Labels | Notes |
| --- | --- | --- | --- |
| idno | Participant ID Number |  |  |
| smnid1 | Maine Sample ID |  |  |
| apobri1 | Apo-B Imputed (mg/dL) |  | Per UMN RC: Recommended variable for analysis. |
| apobrimputed1 | Apo-B Imputed Indicator | 1: Yes |  |
| apobmm1 | ApoBM Maine (mg/dL) |  | Total ApoB measured by reagents from Maine Standard on Modular P |
| apobmm1m | ApoBM Maine (mg/dL): Not performed | 1: Not performed |  |
| ldlapbm1 | LDL-Apo-B Maine (mg/dL): Determined by reagent from Maine Standards Inc specific for LDL ApoB molecules only |  | Determined by a reagent from Maine Standards Inc specific for LDL ApoB molecules only. (VLDL ApoB is not measured by this method.) |
| ldlpmn1 | LDL-P Maine (nmol/L) |  | Calculated particle number using the LDL ApoB |
| ssdid1 | Small density LDL Sample ID |  |  |
| sdldld1 | Small density LDL (mg/dL) |  | Done by method using reagent from Denka |
| sapabid1 | Apo-A/B Sample ID |  |  |
| apobr1 | Apo-B Roche (mg/dL) |  | Determined by Roche on Modular P |
| apobk1 | Apo-B Kamiya (mg/dL) |  | Determined by Kamiya on a Modular P |
| apobd1 | Apo-B Diazyme (mg/dL) |  | Diazyme was determined using diazyme reagent in Alan Remaley's laboratory |
| apoba1d1 | Apo-A1 Diazyme (mg/dL) |  | Analysis was performed using diazyme reagent in Alan Remaley's Laboratory |
| splaid1 | Lp(a) Sample ID |  |  |
| pmlpar1 | PMOD Lp(a) Randox (mg/dL) |  |  |
| chlpad1 | Chol. Lp(a) ID Densitometer Values (mg/dL) |  | Assay procedure per Helena Laboratories SPIFE Vis Cholesterol, #185, 11/06(5). Lipid fractions separated by electrophoresis and developed for total, free and esterified, cholesterol. Concentration estimates from external total cholesterol and relative concentrations of the separated lipid fractions. |
| jpartic1 | J-Particle (nmol/L) |  | Prototype lipoprotein immuno-fixation-electrophoresis. Lipid fractions separated by electrophoresis and probe/fixed with Anti-Apo-B antisera followed by non-specific protein staining. Concentration estimates, (particle number as nmol/L), from an external total Apo-B assay and relative concentrations of the separated lipid fractions. |
| colpad1 | Conc. Lp(a) ID Densitometer Value (mg/dL) |  |  |
| pnlpad1 | Particle Number Lp(a) ID Densitometer Value (nmol/L) |  |  |
| pnvldl1 | Particle Number vLDL (nmol/L) |  |  |
| pnldl1 | Particle Number LDL (nmol/L) |  |  |
| lpapr1 | Lp(a) Positional Reference | 1: No Bias 2: Cathodic-Sm 3: Anodic-Lg | A qualitative visual observation of overall migration distances associated with Lp(a)-P fraction. Most fractions exhibited no cathodic or anodic bias. Lp(a)-P charge biases noted as anodic or cathodic beyond this standard population reference corridor. |

MESA Ancillary Study AS081 Update February 2020

Objective:

Impute “unreasonable” ApoB (Roche) measures from the other two measurements (Diazyme & Kamiya).

Procedures:

- There are 56 samples labelled as “outliers” by Jing.

- Summary statistic for ApoB (Roche) among the 4623 “good” samples: min = 22.5, max = 287.7.

- Among the 56 “outliers”, 18 samples with ApoB (Roche) measure outside of (22.5, 287.7) or having missing Roche measure.  Among these 18 samples, one sample (3015858) with very low ApoB (Roche) measure, and a consistently low Kamiya measure. This sample also has a very low sdLDL-C measure (0.1mg/dL).  We decide not to impute this sample.

- In addition, one sample (8011397) has Roche measure within the “good” range but inconsistent with the Diazyme and Kamiya measures.

- It leads to a total of 18 samples to impute.

idno   apobr1   apobk1   apobd1

3010449        .        .    117.8

3015858       .7       .9     56.2

3019560        .     87.9     88.9

3019829        .        .     84.6

5013003    352.5    118.7    120.4

5014220      316     81.5       83

5016967    332.7     99.7     83.3

5019290        .        .     92.9

5019516        .        .    143.5

6013198      542      144    130.5

6017053        .    141.9    136.2

6022405        0    112.9    113.1

7010273        0     54.8     60.6

7011725        .        .    108.5

7012101    358.1     88.4       89

7015569        .        .       72

8023000        .        .    105.3

8024138     11.4    107.3     90.9

- Run two simple linear regressions between ApoB (Roche) with each of the other two measures separately using the “good” samples. Calculate two predicted ApoB (Roche) values from the two regressions.

- Impute the ApoB (Roche) measure using the average of the two predicted values.

***. In the final data file, the column “ApoBRoche_imputed” (renamed to [apobri1] by CC) has the cleaned ApoB measures, and the column “ToImpute” (renamed to [apobrimputed1] by CC) has a value of 1 if the sample was imputed.