Project:	Aviir MESA Analysis

Contact: 	Dr.  Evangelos Hytopoulos, VP Biostatistics and Computational Sciences

Author:		Samantha Chui, Group Leader, Software Engineering

Date:		02-Apr-2010

- Summary

We have finalized the analysis of 32 protein assays on the 824 serum samples you provided us from the MESA study. All the raw data post QC checks are provided, as well as an Excel spreadsheet for calculating the Aviir score based on clinical factors and a subset of the biomarkers measured.

Attachments:

Aviir_marker_concentrations.csv – measurements for 32 assays for 824 samples

Aviir_Model_Calculator_for_MESA.xls – Excel spreadsheet for calculating Aviir score

- Methods

- Assay methods

824 serum samples were received from MESA on Feb 01, 2010. Samples were run in duplicate and the concentration read off of a 5-PL standard curve. The mean concentration in pg/mL is reported by Aviir.

Occasionally a concentration cannot be determined for a sample. The notation used is as follows:

NA – Insufficient volume or sample removed as outlier

*1.23 – Value is extrapolated from the standard curve

OOR < – Value is out of range below the standard curve

OOR > – Value is out of range above the standard curve

Biomarkers Measured:

| ADIPONECTIN | IL.16 | MIP.1A | SICAM.1 |
| --- | --- | --- | --- |
| ANG.2 | IL.18 | MPO | SP.SELECTIN |
| CRP | IP.10 | NT.PROBNP | TIMP.1 |
| CTACK | LEPTIN | PAI.1 | TIMP.4 |
| EGF | MCP.1 | RANTES | VEGF |
| EOTAXIN | MCP.2 | RESISTIN |  |
| FASLIGAND | MCP.3 | SCD40L |  |
| HGF | MCP.4 | SE.SELECTIN |  |
| I.TAC | MIF | SFAS |  |

- Quality Control and Assessment

Two methods are used to QC each of the plates. 1) Four process controls (pooled serum samples) are run with the samples on each plate. Plates whose process controls are outside the normal ranges for these process controls are considered to have failed QC. 2) Radix AssayChex beads are run on each plate to detect problems with instrument control, SA-PE, Biotin, and non-specific binding in each well.

Plates 11-14 failed QC for the following biomarkers: CTACK, HGF, IL.16, IL.18, MCP.3, and NT.proBNP. However, the biomarker concentrations for samples on these plates are still provided to MESA.

- Reagent Lot Normalization

It is common for reagent performance to vary between manufacturing lots. To adjust for these changes in lots, Aviir conducts a lot-to-lot analysis using serum samples to establish a normalizing equation for each new lot of reagents. A transformation from Lot A to Lot B for each biomarker assay is determined using a robust linear model. The following normalizing equation is then applied to uniformly adjust the concentration values measured for all samples using Lot B reagents:

(New lot) = alpha + beta * (old lot)

The biomarker concentrations provided to MESA are these normalized concentrations.

- Calculating the Aviir Score

The Aviir model for calculating the Aviir score was developed previously on an independent data set. This independent data set is similar to the MESA cohort, with the exception of age and race distribution. To calculate the Aviir score for the MESA samples, use the attached Excel spreadsheet. The Aviir model uses a combination of clinical factors (age, gender, Diabetes, and family history of MI) and biomarker values (IL.16, EOTAXIN, and FASLIGAND) to calculate the 5 year risk score of a cardiac event. The spreadsheet comes pre-populated with the log10 concentrations of the model’s biomarkers. Only the clinical data needs to be provided by MESA.

Instructions for Calculating the Aviir Score

- Paste the subject ID, age, gender (male=1, female=0), diabetes ( = 1, nodiabetes =0), and family history of MI ( =1 , no family history = 0) in the TRF section of the Excel spreadsheet, indicated with a blue background.

- Check that the subject IDs pasted in the TRF section (blue) match the subject IDs in the Biomarker section of the spreadsheet (gray). The ID check column will display a red 1 if the IDs are not matching. The total number of non-matching IDs is shown in the header above the Biomarker section. If any IDs are incorrect, double-check the IDs and clinical data as it is imperative that the clinical data match the biomarker data for each subject.

- If all clinical data and biomarker data are provided, the Aviir score is automatically calculated for each subject in the Output section of the spreadsheet (green).

Notes:

Some input biomarker values are missing and as a result the score will be reported as NA.  Assuming that all clinical/demographic data are available for these subjects, there will be less than 40 subjects without score.  Please check the final number of NA scores after you have pasted all the data into the spreadsheet.  If the number is large and unbalanced within cases and controls we should probably discuss since that will affect the calculation of the score.

MESA Ancillary Study 145 Data Set Variable Guide

Exam 1: Predictive Algorithm using Longitudinal Data from MESA (PALM), Sponsored by AVIIR Inc.

| Data Set name : | MESAe1a145_AviirPalm_20150626 |
| --- | --- |
| Principal Investigator : | Michael Beggs |
| Contact Information : | michael.beggs@aviir.com |

| Order | Variable | Variable Description | Value Labels and Comments |
| --- | --- | --- | --- |
| 1 | idno | MESA Participant ID |  |
| 2 | casecohort | Subcohort Member | 0: Sub-member with no failure 1: Sub-member who failed 2: Non-subcohort cases |
| 3 | commuse | Current Participant Consent for Commercial Use of Data | 0: No 1: Yes |
| 4 | adpnctn1 | Adiponectin (ACRP30) (pg/ml) | Gene symbol ADIPOQ |
| 5 | adpnctn1m | Adiponectin: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 6 | angpntn21 | Angiopoietin-2 (pg/ml) | Gene symbol ANGPT2 |
| 7 | angpntn21m | Angiopoietin-2: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 8 | creactp1 | High-sensitivity C-Reactive Protein (pg/ml) |  |
| 9 | creactp1m | High-sensitivity C-Reactive Protein: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 10 | ctack1 | Cutaneous T-Cell-Attracting Chemokine (CCL27) (pg/ml) | Gene symbol CCL27 |
| 11 | ctack1m | Cutaneous T-Cell-Attracting Chemokine: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 12 | egf1 | Epidermal Growth Factor (pg/ml) |  |
| 13 | egf1m | Epidermal Growth Factor: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 14 | eotaxin1 | Eotaxin-3 (CCL11) (pg/ml) | Gene symbol CCL11 |
| 15 | eotaxin1m | Eotaxin-3: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 16 | faslgnd1 | Factor Activating ExoS Ligand (TNFSF6) (pg/ml) | Gene symbol FASLG |
| 17 | faslgnd1m | Factor Activating ExoS Ligand: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 18 | hgf1 | Hepatocyte Growth Factor (pg/ml) |  |
| 19 | hgf1m | Hepatocyte Growth Factor: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 20 | itac1 | Interferon-Inducible T-Cell Alpha Chemoattractant (CXCL11) (pg/ml) | Gene symbol CXCL11 |
| 21 | itac1m | Interferon-Inducible T-Cell Alpha Chemoattractant: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 22 | il161 | Interleukin-16 (pg/ml) | Gene symbol IL16 |
| 23 | il161m | Interleukin-16: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 24 | il181 | Interleukin-18 (pg/ml) | Gene symbol IL18 |
| 25 | il181m | Interleukin-18: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 26 | ip101 | Interferon gamma-induced protein 10 (CXCL10) (pg/ml) | Gene symbol CXCL10 |
| 27 | ip101m | Interferon gamma-induced protein 10: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 28 | leptin1 | Leptin (pg/ml) | Gene symbol LEP |
| 29 | leptin1m | Leptin: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 30 | mcp11 | Monocyte Chemoattractant Protein 1 (CCL2) (pg/ml) | Gene symbol CCL2 |
| 31 | mcp11m | Monocyte Chemoattractant Protein 1: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 32 | mcp21 | Monocyte Chemoattractant Protein 2 (CCL8) (pg/ml) | Gene symbol CCL8 |
| 33 | mcp21m | Monocyte Chemoattractant Protein 2: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 34 | mcp31 | Monocyte Chemoattractant Protein 3 (CCL7) (pg/ml) | Gene symbol CCL7 |
| 35 | mcp31m | Monocyte Chemoattractant Protein 3: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 36 | mcp41 | Monocyte Chemoattractant Protein 4 (CCL13) (pg/ml) | Gene symbol CCL13 |
| 37 | mcp41m | Monocyte Chemoattractant Protein 4: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 38 | mif1 | Macrophage Migration Inhibitory Factor (pg/ml) |  |
| 39 | mif1m | Macrophage Migration Inhibitory Factor: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 40 | mip1a1 | Macrophage Inflammatory Protein 1 Alpha (CCL3) (pg/ml) | Gene symbol CCL3 |
| 41 | mip1a1m | Macrophage Inflammatory Protein 1 Alpha: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 42 | mpo1 | Myeloperoxidase (pg/ml) |  |
| 43 | mpo1m | Myeloperoxidase : Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 44 | ntprobnp1 | N-Terminal Pro–B-Type Natriuretic Peptide (pg/ml) | Gene symbol NPPB |
| 45 | ntprobnp1m | N-Terminal Pro–B-Type Natriuretic Peptide: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 46 | pai11 | Serpin E1 (SERPINE1) (pg/ml) | Gene symbol SERPINE1 |
| 47 | pai11m | Serpin E1: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 48 | rantes1 | Regulated upon Activation, Normal T cell Expressed and presumably Secreted (CCL5) (pg/ml) | Gene symbol CCL5 |
| 49 | rantes1m | Regulated upon Activation, Normal T cell Expressed and presumably Secreted: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 50 | resistin1 | Resistin (pg/ml) | Gene symbol RETN |
| 51 | resistin1m | Resistin : Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 52 | scd40l1 | Soluble Cd40 Ligand (TNFSF5) (pg/ml) | Gene symbol CD40LG |
| 53 | scd40l1m | Soluble Cd40 Ligand: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 54 | seselect1 | Soluble E-Selectin (CD62E) (pg/ml) | Gene symbol SELE |
| 55 | seselect1m | Soluble E-Selectin: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 56 | sfas1 | Soluble Factor Activating ExoS (TNFRSF6) (pg/ml) | Gene symbol FAS |
| 57 | sfas1m | Soluble Factor Activating ExoS: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 58 | sicam11 | Soluble Intercellular Adhesion Molecule-1 (CD54) (pg/ml) | Gene symbol ICAM1 |
| 59 | sicam11m | Soluble Intercellular Adhesion Molecule-1: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 60 | spselect1 | Soluble P-Selectin (CD62P) (pg/ml) | Gene symbol SELP |
| 61 | spselect1m | Soluble P-Selectin: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 62 | timp11 | Tissue Inhibitor Of Metalloproteinase-1 (pg/ml) | Gene symbol TIMP1 |
| 63 | timp11m | Tissue Inhibitor Of Metalloproteinase-1: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 64 | timp41 | Tissue Inhibitor Of Metalloproteinase-4 (pg/ml) | Gene symbol TIMP4 |
| 65 | timp41m | Tissue Inhibitor Of Metalloproteinase-4: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |
| 66 | vegf1 | Vascular Endothelial Growth Factor (pg/ml) | Gene symbol VEGFA |
| 67 | vegf1m | Vascular Endothelial Growth Factor: Lab Notation | 0: Value is extrapolated from the standard curve 1: NA – Insufficient volume or sample removed as outlier 2: OOR < – Value is out of range below the standard curve 3: OOR > – Value is out of range above the standard curve |