MESA Ancillary Data Set Variable Guide

Exam 6: Early Heart Failure Study

| Data Set name : | MESAe6_EHF_NTproBNP_20191101 |
| --- | --- |
| Ancillary Study PI : | Alain Bertoni |
| Contact Information : | abertoni@wakehealth.edu |

| Order | Variable | Variable Description |
| --- | --- | --- |
| 1 | idno | MESA Participant ID |
| 2 | ntprbnp6 | N-Terminal Pro–B-Type Natriuretic Peptide (pg/ml) |
| 3 | e16ehfadyc | Time from baseline to Early Heart Failure study NT-pro-BNP assay (Days) |

Assay Methods

| Manufacturer | Roche |
| --- | --- |
| Catalog # | 158992 |
| Method | Electrochemiluminescence immunoassay run on the Roche Cobas 3411 analyzer |
| Sample type | Serum |
| Detectable Range | 5 - 35,000 pg/mL |
| Inter-assay CV Control 1 | 4.03% |
| Inter-assay CV Control 2 | 5.58% |
| Inter-assay CV Control 3 | 3.18% |