MESA Oximetry Certification / Supervisor / Site Visit Checklist

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **DATE:** |  |  |  | |  | |  | **Field Center:** |  | | | | |
|  | **mo** |  | **day** | |  | | **year** |  |  | | | | |
|  |  |  |  | |  | |  | **Technician name/ID:** |  | | | | |
|  |  |  |  | |  | |  |  |  | | | | |
|  |  |  |  | |  | |  | **Supervisor:** |  | | | | |
|  |  |  |  | |  | |  |  |  | | | | |
| **Purpose of Evaluation:** | | | | | | | | | | | | | |
| **Certification** | | | |  | | **Supervisor QC Check** | | | |  | **Site Visit** |  |  |
|  | | | |  |  | | | | |  |  |  |  |

Please check the appropriate box if technician performance is satisfactory for each line item. Please note any comments or remedial action taken in ‘Comments’ section if performance was not satisfactory.

Steps in Exam:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| 1. |  |  | Places probe correctly. | |
| 2. |  |  | Confirms good signal (pulse) is obtained | |
| 3. |  |  | Observes for one minute | |
| 4. |  |  | Accurately estimates apparent median value (+/- 1%) | |
| 5. |  |  | Records value on form or computer screen | |
|  | | | |  |
| **Comments/Corrective Actions:** | | | |
|  | | | | |
|  | | | | |
| ***Supervisor /Site Visitor Signature*** | | | |  |

For QC activity, Make sure to complete the Web-based qc procedures/activities form